**TECHNICAL DATA SHEET**

**NON WOVEN - ISOLATION GOWNS**  
**ISO25-BLUE**

**Intended Use**

Non-surgical, procedural Isolation Gown: intended to protect health care patients and personnel from the transfer of microorganisms, particulate material. Single use and disposable. Non Sterile, Latex Free

|  |  |
| --- | --- |
| **CHARACTERISTIC** | **SPECIFICATION** |
| Description | Gown made of non-woven fabric with tie neck, tie back, Sleeves with elastic wrist. Non Sterile |
| Material Composition | Spun bonded Polypropylene, Latex Free, 25 grams |
| Dimensions | See Table below |
| Packing Way | 10 pcs bag/ 10 bags case = 100 pcs per case |
| Style Numbers | ISO25-BLUE |
| SIZING | OSFA |
| Storing | Store under ambient temperature and dry conditions. |

|  |  |
| --- | --- |
| **DESCRIPTION** | **DIMENSION/ SIZE in (cm)** |
| Gown Length | 120 |
| Underarm Width | 73 |
| Sleeve Length | 58 |
| Shoulder Height (from underarm until shoulder) | 25 |
| Shoulder Width (from neck hole to shoulder) | 23 |
| Collar Depth | 9 |
| Collar Width | 25 |
| Sleeve Cuff Width | 8 |
| Sleeve Cuff Width (Stretched) | 16 |
| Width of Gown | 145 |
| Tie Back | At neck and waist |
| Carton Size | 56\*26\*31cm |
| Weight per carton | 5.5/6.0 kg |

 

LOT 80988

